{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["spectrum","Sheet1"],"not_rendered":{"charts":3,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"spectrum","index":0,"n_rows":19,"n_cols":7,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["gx","gy","gz",null,"g-factor"]
[]
[0,66,100]
[null,null,null,null,null,null,"hyperfine"]
[null,null,null,null,null,null,"splitting"]
[null,null,null,null,null,null,"constant"]
[null,null,null,null,6,"Ax"]
[null,null,null,null,13,"Ay"]
[null,null,null,null,5,"Az"]
[]
[8,19,5]
["DHx","DHy","DHz",null,"linewidth"]
[]
[{"$f":"A11/10*3","v":2.4000000000000004},{"$f":"B11/10*3","v":5.6999999999999993},{"$f":"C11/10*3","v":1.5}]
[]
[]
[]
["Y ampl factor",40]
[{"$f":"A3-50","v":-50},{"$f":"B3-50","v":16},{"$f":"C3-50","v":50}]

{"sheet":"Sheet1","index":1,"n_rows":211,"n_cols":14,"rows_kept":211,"cut":false,"hidden":true,"merged":[]}
[null,null,"gx",{"$f":"spectrum!A19","v":-50},"Ax",{"$f":"spectrum!E7","v":6},"DHx",{"$f":"spectrum!A14","v":2.4000000000000004}]
[null,null,"gy",{"$f":"spectrum!B19","v":16},"Ay",{"$f":"spectrum!E8","v":13},"DHy",{"$f":"spectrum!B14","v":5.6999999999999993}]
[null,null,"gz",{"$f":"spectrum!C19","v":50},"Az",{"$f":"spectrum!E9","v":5},"DHz",{"$f":"spectrum!C14","v":1.5}]
[null,null,"Amplit factor",{"$f":"spectrum!B18","v":40}]
[]
[]
["y amplitude",null,null,null,null,{"$f":"D4","v":40},null,null,null,null,null,{"$f":"D4","v":40}]
["Mean",null,null,null,{"$f":"D1-F1/2","v":-53},{"$f":"D2-F2/2","v":9.5},{"$f":"D3-F3/2","v":47.5},null,null,null,{"$f":"D1+F1/2","v":-47},{"$f":"D2+F2/2","v":22.5},{"$f":"D3+F3/2","v":52.5}]
["Width",null,null,null,{"$f":"H1","v":2.4000000000000004},{"$f":"H2","v":5.6999999999999993},{"$f":"H3","v":1.5},null,null,null,{"$f":"H1","v":2.4000000000000004},{"$f":"H2","v":5.6999999999999993},{"$f":"H3","v":1.5}]
["Field","Total sum","Sum1","Sum2","X","Y","Z","Yo",null,null,"X","Y","Z","Yo"]
[-100,{"$f":"C11+D11","v":5.6456127724985278E-79},{"$f":"E11+F11+G11","v":5.6456127724985278E-79},{"$f":"K11+L11+M11","v":5.9315167791304604E-99},{"$f":"NORMDIST(A11,$E$8,$E$9,FALSE)","v":8.7745317992105175E-85},{"$f":"(H12-H11)*$F$7","v":5.6456039979667285E-79},{"$f":"-NORMDIST(A11,$G$8,$G$9,FALSE)","v":0},{"$f":"NORMDIST(A11,$F$8,$F$9,FALSE)","v":5.1059792381643984E-82},null,null,{"$f":"NORMDIST(A11,$K$8,$K$9,FALSE)","v":2.1072675837120713E-107},{"$f":"(N12-N11)*$L$7","v":5.9315167580577848E-99},{"$f":"-NORMDIST(A11,$M$8,$M$9,FALSE)","v":0},{"$f":"NORMDIST(A11,$L$8,$L$9,FALSE)","v":3.5531438218138329E-102}]
[{"$f":"A11+1","v":-99},{"$f":"C12+D12","v":1.5665173714875297E-77},{"$f":"E12+F12+G12","v":1.5665173714875297E-77},2.4561231446237164E-97,{"$f":"NORMDIST(A12,$E$8,$E$9,FALSE)","v":2.8135012562629638E-81},{"$f":"(H13-H12)*$F$7","v":1.5662360213619034E-77},{"$f":"-NORMDIST(A12,$G$8,$G$9,FALSE)","v":0},1.4624607918733261E-80,null,null,{"$f":"NORMDIST(A12,$K$8,$K$9,FALSE)","v":1.9148419481166243E-103},{"$f":"(N13-N12)*$L$7","v":2.4561212297817685E-97},{"$f":"-NORMDIST(A12,$M$8,$M$9,FALSE)","v":0},{"$f":"NORMDIST(A12,$L$8,$L$9,FALSE)","v":1.5184106277325844E-100}]
[{"$f":"A12+1","v":-98},4.2891223772928732E-76,4.2891223772928732E-76,9.8632671977668827E-96,7.583539043505558E-78,4.2132869868578178E-76,0,4.0618361325920912E-79,null,null,1.4626749777190196E-99,{"$f":"(N14-N13)*$L$7","v":9.8618045227891642E-96},0,6.2921441372276796E-99]
[-97,2.8173069629628262E-74,2.8173069629628262E-74,3.9335143666335675E-94,1.7182976381548047E-74,1.0990093248080215E-74,0,1.0939401080403754E-77,null,null,9.392136230964397E-96,{"$f":"(N15-N14)*$L$7","v":3.8395930043239233E-94},0,2.5283725720695681E-97]
[-96,3.3006500750932729E-71,3.3006500750932729E-71,6.5192626561601913E-92,3.2728530923271655E-71,2.7796982766107538E-73,0,2.8569173228240912E-76,null,null,5.0697038111486646E-92,{"$f":"(N16-N15)*$L$7","v":1.449558845011526E-92},0,9.8518197680167644E-96]
[-95,5.24098332046207E-68,5.24098332046207E-68,2.3057016488272465E-88,5.240301595326104E-68,6.817251359657989E-72,0,7.2349374238092936E-75,null,null,2.3003951509000317E-88,{"$f":"(N17-N16)*$L$7","v":5.3064979272148841E-91},0,3.7224153102089827E-94]
[-94,7.0532406909441361E-65,7.0532406909441361E-65,8.7747201646652407E-85,7.0532244789764941E-65,1.6211967642127644E-70,0,1.7766622141525902E-73,null,null,8.7745317992105175E-85,1.8836545472380362E-89,0,1.363848634905811E-92]
[-93,7.9803291144820408E-62,7.9803291144820408E-62,2.8135019046215043E-81,7.9803287406501885E-62,3.7383185162057631E-69,0,4.2306581319471695E-72,null,null,2.8135012562629638E-81,6.4835854058927538E-88,0,4.8455212315856718E-91]
[-92,7.5902400434952821E-59,7.5902400434952821E-59,7.5835390651451728E-78,7.5902400351367426E-59,8.3585392500583188E-68,0,9.7688621037091257E-71,null,null,7.583539043505558E-78,2.1639614800680747E-86,0,1.6693515637890452E-89]
[-91,6.0686472075223693E-56,6.0686472075223693E-56,1.7182976382248378E-74,6.0686472073411534E-56,1.8121632369807687E-66,0,2.1873234335516711E-69,null,null,1.7182976381548047E-74,7.0033157482514383E-85,0,5.5768388565490913E-88]
[-90,4.078776649195169E-53,4.078776649195169E-53,3.2728530923293633E-71,4.0787766491913596E-53,3.8095738792485993E-65,0,4.7491404358070885E-68,null,null,3.2728530923271655E-71,2.1977452246384261E-83,0,1.8065973256283506E-86]
[-89,2.3044623124353169E-50,2.3044623124353169E-50,5.2403015953261707E-68,2.304462312435239E-50,7.7654552973255054E-64,0,9.9988487417022075E-67,null,null,5.240301595326104E-68,6.687595377248195E-82,0,5.6750227941589E-85]
[-88,1.0944878583687156E-47,1.0944878583687156E-47,7.0532244789764958E-65,1.094487858368714E-47,1.534857794612357E-62,0,2.0413523117483985E-65,null,null,7.0532244789764941E-65,1.9732457323756138E-80,0,1.7286490722536378E-83]
[-87,4.3697233127870151E-45,4.3697233127870151E-45,7.9803287406501885E-62,4.3697233127870151E-45,2.9415706918367547E-61,0,4.0412797177057327E-64,null,null,7.9803287406501885E-62,5.6456039979667285E-79,0,5.1059792381643984E-82]
[-86,1.4665557658314444E-42,1.4665557658314444E-42,7.5902400351367426E-59,1.4665557658314444E-42,5.4663767599540875E-60,0,7.7580547013624607E-63,null,null,7.5902400351367426E-59,1.5662360213619034E-77,0,1.4624607918733261E-80]
[-85,4.1375654541590767E-40,4.1375654541590758E-40,6.0686472073411534E-56,4.1375654541590758E-40,9.849816239126787E-59,0,1.4441747370021465E-61,null,null,6.0686472073411534E-56,4.2132869868578178E-76,0,4.0618361325920912E-79]
[-84,9.8127972370762748E-38,9.8127972370762706E-38,4.0787766491913596E-53,9.8127972370762706E-38,1.7209336572145396E-57,0,2.6068715334819114E-60,null,null,4.0787766491913596E-53,1.0990093248080215E-74,0,1.0939401080403754E-77]
[-83,1.9563313991563687E-35,1.9563313991563663E-35,2.304462312435239E-50,1.9563313991563663E-35,2.9154571742060207E-56,0,4.5630212963845401E-59,null,null,2.304462312435239E-50,2.7796982766107538E-73,0,2.8569173228240912E-76]
[-82,3.2786395860963799E-33,3.2786395860963689E-33,1.094487858368714E-47,3.2786395860963689E-33,4.7891099960238024E-55,0,7.7449450651535048E-58,null,null,1.094487858368714E-47,6.817251359657989E-72,0,7.2349374238092936E-75]
[-81,4.6189853358662195E-31,4.6189853358661758E-31,4.3697233127870151E-45,4.6189853358661758E-31,7.62794580734835E-54,0,1.2747269496574858E-56,null,null,4.3697233127870151E-45,1.6211967642127644E-70,0,1.7766622141525902E-73]
[-80,5.4701740025644422E-29,5.4701740025642953E-29,1.4665557658314444E-42,5.4701740025642953E-29,1.1780508115608072E-52,0,2.0344591468028359E-55,null,null,1.4665557658314444E-42,3.7383185162057631E-69,0,4.2306581319471695E-72]
[-79,5.4457456258602607E-27,5.4457456258598467E-27,4.1375654541590758E-40,5.4457456258598467E-27,1.7640993481927193E-51,0,3.1485729435823013E-54,null,null,4.1375654541590758E-40,8.3585392500583188E-68,0,9.7688621037091257E-71]
[-78,4.5573797040959525E-25,4.5573797040949708E-25,9.8127972370762706E-38,4.5573797040949708E-25,2.5614363206157118E-50,0,4.7251056648400282E-53,null,null,9.8127972370762706E-38,1.8121632369807687E-66,0,2.1873234335516711E-69]
[-77,3.2060827611296763E-23,3.2060827611277196E-23,1.9563313991563663E-35,3.2060827611277196E-23,3.6061556293803041E-49,0,6.8761013680232821E-52,null,null,1.9563313991563663E-35,3.8095738792485993E-65,0,4.7491404358070885E-68]
[-76,1.8959893627046279E-21,1.8959893627013493E-21,3.2786395860963689E-33,1.8959893627013493E-21,4.9227136147646722E-48,0,9.7029992102530881E-51,null,null,3.2786395860963689E-33,7.7654552973255054E-64,0,9.9988487417022075E-67]
[-75,9.4253766974855544E-20,9.4253766974393646E-20,4.6189853358661758E-31,9.4253766974393646E-20,6.5157236615477677E-47,0,1.327708395793699E-49,null,null,4.6189853358661758E-31,1.534857794612357E-62,0,2.0413523117483985E-65]
[-74,3.9387932841809463E-18,3.9387932841262445E-18,5.4701740025642953E-29,3.9387932841262445E-18,8.3621403363449537E-46,0,1.761701754966312E-48,null,null,5.4701740025642953E-29,2.9415706918367547E-61,0,4.0412797177057327E-64]
[-73,1.383659768774152E-16,1.3836597687196945E-16,5.4457456258598467E-27,1.3836597687196945E-16,1.0405612034725436E-44,0,2.2667052595828696E-47,null,null,5.4457456258598467E-27,5.4663767599540875E-60,0,7.7580547013624607E-63]
[-72,4.0859880383043044E-15,4.085988037848566E-15,4.5573797040949708E-25,4.085988037848566E-15,1.2554858147856379E-43,0,2.828073534639646E-46,null,null,4.5573797040949708E-25,9.849816239126787E-59,0,1.4441747370021465E-61]
[-71,1.0143002224160361E-13,1.0143002220954279E-13,3.2060827611277196E-23,1.0143002220954279E-13,1.4687522855890918E-42,0,3.4215218904280594E-45,null,null,3.2060827611277196E-23,1.7209336572145396E-57,0,2.6068715334819114E-60]
[-70,2.1165942069429736E-12,2.1165942050469843E-12,1.8959893627013493E-21,2.1165942050469843E-12,1.6660052523405529E-41,0,4.0140329030155359E-44,null,null,1.8959893627013493E-21,2.9154571742060207E-56,0,4.5630212963845401E-59]
[-69,3.712875087488799E-11,3.7128750780634223E-11,9.4253766974393646E-20,3.7128750780634223E-11,1.832287755989307E-40,0,4.5664164211529359E-43,null,null,9.4253766974393646E-20,4.7891099960238024E-55,0,7.7449450651535048E-58]
[-68,5.475007615037488E-10,5.4750075756495553E-10,3.9387932841262445E-18,5.4750075756495553E-10,1.953884396779473E-39,0,5.0373610320885611E-42,null,null,3.9387932841262445E-18,7.62794580734835E-54,0,1.2747269496574858E-56]
[-67,6.7867331415266405E-9,6.7867330031606637E-9,1.3836597687196945E-16,6.7867330031606637E-9,2.0201807138342043E-38,0,5.3884470951575385E-41,null,null,1.3836597687196945E-16,1.1780508115608072E-52,0,2.0344591468028359E-55]
[-66,7.0719385937161216E-8,7.0719381851173183E-8,4.085988037848566E-15,7.0719381851173183E-8,2.0251909192895825E-37,0,5.5892964941012645E-40,null,null,4.085988037848566E-15,1.7640993481927193E-51,0,3.1485729435823013E-54]
[-65,6.1946656590264829E-7,6.1946646447262613E-7,1.0143002220954279E-13,6.1946646447262613E-7,1.9684494305632237E-36,0,5.6219069476340821E-39,null,null,1.0143002220954279E-13,2.5614363206157118E-50,0,4.7251056648400282E-53]
[-64,4.5614088274839362E-6,4.5614067108897311E-6,2.1165942050469843E-12,4.5614067108897311E-6,1.8550821889306772E-35,0,5.4833142711714672E-38,null,null,2.1165942050469843E-12,3.6061556293803041E-49,0,6.8761013680232821E-52]
[-63,2.8234624582424901E-5,2.823458745367412E-5,3.7128750780634223E-11,2.823458745367412E-5,1.6950426356774131E-34,0,5.1860368994438395E-37,null,null,3.7128750780634223E-11,4.9227136147646722E-48,0,9.7029992102530881E-51]
[-62,1.4691541515386006E-4,1.4691486765310249E-4,5.4750075756495553E-10,1.4691486765310249E-4,1.5016701820710211E-33,0,4.7562102791379171E-36,null,null,5.4750075756495553E-10,6.5157236615477677E-47,0,1.327708395793699E-49]
[-61,6.4262303518763139E-4,6.4261624845462822E-4,6.7867330031606637E-9,6.4261624845462822E-4,1.289860467868171E-32,0,4.2297964830913448E-35,null,null,6.7867330031606637E-9,8.3621403363449537E-46,0,1.761701754966312E-48]
[-60,2.362937894150974E-3,2.3628671747691231E-3,7.0719381851173183E-8,2.3628671747691231E-3,1.074194275568212E-31,0,3.647630817979562E-34,null,null,7.0719381851173183E-8,1.0405612034725436E-44,0,2.2667052595828696E-47]
[-59,7.3040780054513688E-3,7.3034585389868964E-3,6.1946646447262613E-7,7.3034585389868964E-3,8.6734610517710944E-31,0,3.0502487707184862E-33,null,null,6.1946646447262613E-7,1.2554858147856379E-43,0,2.828073534639646E-46]
[-58,1.898120843708823E-2,1.8976647030377339E-2,4.5614067108897311E-6,1.8976647030377339E-2,6.7899876675579049E-30,0,2.4733901400146222E-32,null,null,4.5614067108897311E-6,1.4687522855890918E-42,0,3.4215218904280594E-45]
[-57,4.1477042417765633E-2,4.1448807830311962E-2,2.823458745367412E-5,4.1448807830311962E-2,5.1535895339090402E-29,0,1.9448359308909383E-31,null,null,2.823458745367412E-5,1.6660052523405529E-41,0,4.0140329030155359E-44]
[-56,7.6250700446412231E-2,7.6103785578759131E-2,1.4691486765310249E-4,7.6103785578759131E-2,3.7923826896612338E-28,0,1.482880976566354E-30,null,null,1.4691486765310249E-4,1.832287755989307E-40,0,4.5664164211529359E-43]
[-55,0.11810589766941403,0.1174632814209594,6.4261624845462822E-4,0.1174632814209594,2.7056588727404751E-27,0,1.0963837700719439E-29,null,null,6.4261624845462822E-4,1.953884396779473E-39,0,5.0373610320885611E-42]
[-54,0.15476801984727012,0.15240515267250099,2.3628671747691231E-3,0.15240515267250099,1.8714981271549882E-26,0,7.8605309519231316E-29,null,null,2.3628671747691231E-3,2.0201807138342043E-38,0,5.3884470951575385E-41]
[-53,0.1735294087062505,0.1662259501672636,7.3034585389868964E-3,0.1662259501672636,1.2550412099252682E-25,0,5.4647984130797839E-28,null,null,7.3034585389868964E-3,2.0251909192895825E-37,0,5.5892964941012645E-40]
[-52,0.17138179970287831,0.15240515267250099,1.8976647030377339E-2,0.15240515267250099,8.1597227558981706E-25,0,3.6840828661211487E-27,null,null,1.8976647030377339E-2,1.9684494305632237E-36,0,5.6219069476340821E-39]
[-51,0.15891208925127137,0.1174632814209594,4.1448807830311962E-2,0.1174632814209594,5.1432550733833621E-24,0,2.4083389755866576E-26,null,null,4.1448807830311962E-2,1.8550821889306772E-35,0,5.4833142711714672E-38]
[-50,0.15220757115751826,7.6103785578759131E-2,7.6103785578759131E-2,7.6103785578759131E-2,3.142984172751171E-23,0,1.5266476659045063E-25,null,null,7.6103785578759131E-2,1.6950426356774131E-34,0,5.1860368994438395E-37]
[-49,0.15891208925127137,4.1448807830311962E-2,0.1174632814209594,4.1448807830311962E-2,1.8620177644501383E-22,0,9.3841080977824334E-25,null,null,0.1174632814209594,1.5016701820710211E-33,0,4.7562102791379171E-36]
[-48,0.17138179970287831,1.8976647030377339E-2,0.15240515267250099,1.8976647030377339E-2,1.0694457256956743E-21,0,5.5934552209035891E-24,null,null,0.15240515267250099,1.289860467868171E-32,0,4.2297964830913448E-35]
[-47,0.1735294087062505,7.3034585389868964E-3,0.1662259501672636,7.3034585389868964E-3,5.9547366190555577E-21,0,3.2329598363295444E-23,null,null,0.1662259501672636,1.074194275568212E-31,0,3.647630817979562E-34]
[-46,0.15476801984727012,2.3628671747691231E-3,0.15240515267250099,2.3628671747691231E-3,3.2143308165047017E-20,0,1.8119801383968439E-22,null,null,0.15240515267250099,8.6734610517710944E-31,0,3.0502487707184862E-33]
[-45,0.11810589766941403,6.4261624845462844E-4,0.1174632814209594,6.4261624845462822E-4,1.682045944881425E-19,0,9.8478071796585975E-22,null,null,0.1174632814209594,6.7899876675579049E-30,0,2.4733901400146222E-32]
[-44,7.6250700446412231E-2,1.4691486765310333E-4,7.6103785578759131E-2,1.4691486765310249E-4,8.5329495607746399E-19,0,5.189895580169422E-21,null,null,7.6103785578759131E-2,5.1535895339090402E-29,0,1.9448359308909383E-31]
[-43,4.147704241776564E-2,2.8234587453678317E-5,4.1448807830311962E-2,2.823458745367412E-5,4.1963239757457708E-18,0,2.6522269482106023E-20,null,null,4.1448807830311962E-2,3.7923826896612338E-28,0,1.482880976566354E-30]
[-42,1.8981208437088247E-2,4.5614067109097363E-6,1.8976647030377339E-2,4.5614067108897311E-6,2.0005134873019909E-17,0,1.314303688757503E-19,null,null,1.8976647030377339E-2,2.7056588727404751E-27,0,1.0963837700719439E-29]
[-41,7.3040780054514616E-3,6.1946646456507692E-7,7.3034585389868964E-3,6.1946646447262613E-7,9.2450736162413199E-17,0,6.3155874070124804E-19,null,null,7.3034585389868964E-3,1.8714981271549882E-26,0,7.8605309519231316E-29]
[-40,2.3629378941513882E-3,7.0719382265334059E-8,2.3628671747691231E-3,7.0719381851173183E-8,4.1416087372942015E-16,0,2.942827144761578E-18,null,null,2.3628671747691231E-3,1.2550412099252682E-25,0,5.4647984130797839E-28]
[-39,6.4262303518942986E-4,6.7867348016610511E-9,6.4261624845462822E-4,6.7867330031606637E-9,1.7985003877974643E-15,0,1.3296848987997081E-17,null,null,6.4261624845462822E-4,8.1597227558981706E-25,0,3.6840828661211487E-27]
[-38,1.4691541516143061E-4,5.47508328112491E-10,1.4691486765310249E-4,5.4750075756495553E-10,7.5705475354968352E-15,0,5.8259358682933685E-17,null,null,1.4691486765310249E-4,5.1432550733833621E-24,0,2.4083389755866576E-26]
[-37,2.8234624613314434E-5,3.7159640314432802E-11,2.823458745367412E-5,3.7128750780634223E-11,3.0889533798577769E-14,0,2.4752304707035457E-16,null,null,2.823458745367412E-5,3.142984172751171E-23,0,1.5266476659045063E-25]
[-36,4.5614089496510204E-6,2.2387612893391391E-12,{"$f":"K75+L75+M75","v":4.5614067108897311E-6},2.1165942050469843E-12,1.2216708429215497E-13,0,{"$f":"NORMDIST(A75,$F$8,$F$9,FALSE)","v":1.0197613920347988E-15},null,null,4.5614067108897311E-6,1.8620177644501383E-22,0,9.3841080977824334E-25]
[-35,{"$f":"C76+D76","v":6.1946703422701702E-7},{"$f":"E76+F76+G76","v":5.6975438984596366E-13},6.1946646447262719E-7,{"$f":"NORMDIST(A76,$E$8,$E$9,FALSE)","v":1.0143002220954279E-13},{"$f":"(H77-H76)*$F$7","v":4.6832436763642089E-13},{"$f":"-NORMDIST(A76,$G$8,$G$9,FALSE)","v":0},4.073938499338673E-15,null,null,{"$f":"NORMDIST(A76,$K$8,$K$9,FALSE)","v":6.1946646447262613E-7},1.0694457256956743E-21,{"$f":"-NORMDIST(A76,$M$8,$M$9,FALSE)","v":0},{"$f":"NORMDIST(A76,$L$8,$L$9,FALSE)","v":5.5934552209035891E-24}]
[{"$f":"A76+1","v":-34},7.0721126057389006E-8,1.7442062098652596E-12,7.0719381851179139E-8,4.085988037848566E-15,1.7401202218274112E-12,0,1.5782047690249194E-14,null,null,7.0719381851173183E-8,5.9547366190555577E-21,0,3.2329598363295444E-23]
[-33,6.7929998756456281E-9,6.266872452821369E-12,6.7867330031928071E-9,1.3836597687196945E-16,6.2667340868444968E-12,0,5.9285053235934469E-14,null,null,6.7867330031606637E-9,3.2143308165047017E-20,0,1.8119801383968439E-22]
[-32,5.6937442839977625E-10,2.1873670666616102E-11,5.4750075773316012E-10,3.9387932841262445E-18,2.1873666727822819E-11,0,2.1595340540704689E-13,null,null,5.4750075756495553E-10,1.682045944881425E-19,0,9.8478071796585975E-22]
[-31,1.1112474108331225E-10,7.3995989449383065E-11,3.712875163392918E-11,9.4253766974393646E-20,7.3995989355129298E-11,0,7.6279507360261732E-13,null,null,3.7128750780634223E-11,{"$f":"(N81-N80)*$L$7","v":8.5329495607746399E-19},0,5.189895580169422E-21]
[-30,2.4471507396315055E-10,2.4259847556177961E-10,2.1165984013709602E-12,1.8959893627013493E-21,2.4259847555988361E-10,0,2.6126948074808496E-12,null,null,2.1165942050469843E-12,4.1963239757457708E-18,0,2.6522269482106023E-20]
[-29,7.7091130183668174E-10,7.7080985180933734E-10,1.014500273444158E-13,3.2060827611277196E-23,7.7080985180930529E-10,0,8.6776566964779398E-12,null,null,1.0143002220954279E-13,2.0005134873019909E-17,0,1.314303688757503E-19]
[-28,2.3734024682026603E-9,2.3733982897638864E-9,4.1784387740109794E-15,4.5573797040949708E-25,2.373398289763886E-9,0,2.7947902991710573E-11,null,null,4.085988037848566E-15,9.2450736162413199E-17,0,6.3155874070124804E-19]
[-27,7.0817701582932347E-9,7.0817696057663839E-9,5.5252685060138959E-16,5.4457456258598467E-27,7.0817696057663839E-9,0,8.7282860235807729E-11,null,null,1.3836597687196945E-16,4.1416087372942015E-16,0,2.942827144761578E-18]
[-26,2.0475901208259163E-8,2.0475899405819982E-8,1.8024391810815905E-15,5.4701740025642953E-29,2.0475899405819982E-8,0,2.6432710037996734E-10,null,null,3.9387932841262445E-18,1.7985003877974643E-15,0,1.3296848987997081E-17]
[-25,5.7366047844172005E-8,5.7366040273530217E-8,7.5706417892638089E-15,4.6189853358661758E-31,5.7366040273530217E-8,0,7.7622458552546688E-10,null,null,9.4253766974393646E-20,7.5705475354968352E-15,0,5.8259358682933685E-17]
[-24,1.5572432673831629E-7,1.557242958487806E-7,3.0889535694567134E-14,3.2786395860963689E-33,1.557242958487806E-7,0,2.2103755923637223E-9,null,null,1.8959893627013493E-21,3.0889533798577769E-14,0,2.4752304707035457E-16]
[-23,4.095666532017937E-7,4.095665310347094E-7,1.2216708432421579E-13,1.9563313991563663E-35,4.095665310347094E-7,0,6.1034829885832377E-9,null,null,3.2060827611277196E-23,1.2216708429215497E-13,0,1.0197613920347988E-15]
[-22,1.0436000213772698E-6,1.0435995530529021E-6,4.6832436763687659E-13,9.8127972370762706E-38,1.0435995530529021E-6,0,1.6342646264450971E-8,null,null,4.5573797040949708E-25,4.6832436763642089E-13,0,4.073938499338673E-15]
[-21,2.5760673102907047E-6,2.5760655701704828E-6,1.7401202218274166E-12,4.1375654541590758E-40,2.5760655701704828E-6,0,4.2432635090773523E-8,null,null,5.4457456258598467E-27,1.7401202218274112E-12,0,1.5782047690249194E-14]
[-20,6.1597546945768227E-6,6.159748427842736E-6,6.2667340868444968E-12,1.4665557658314444E-42,6.159748427842736E-6,0,1.0683427434503559E-7,null,null,5.4701740025642953E-29,6.2667340868444968E-12,0,5.9285053235934469E-14]
[-19,1.4266549074010861E-5,1.4266527200344133E-5,2.1873666727822819E-11,4.3697233127870151E-45,1.4266527200344133E-5,0,2.60827985041104E-7,null,null,4.6189853358661758E-31,2.1873666727822819E-11,0,2.1595340540704689E-13]
[-18,3.2002675930041386E-5,3.200260193405203E-5,7.3995989355129298E-11,1.094487858368714E-47,3.200260193405203E-5,0,6.1749116504970733E-7,null,null,3.2786395860963689E-33,7.3995989355129298E-11,0,7.6279507360261732E-13]
[-17,6.952224523886058E-5,6.9522002640385024E-5,2.4259847555988361E-10,2.304462312435239E-50,6.9522002640385024E-5,0,1.4175562134010081E-6,null,null,1.9563313991563663E-35,2.4259847555988361E-10,0,2.6126948074808496E-12]
[-16,1.4624627671221355E-4,1.4624550590236173E-4,7.7080985180930529E-10,4.0787766491913596E-53,1.4624550590236173E-4,0,3.1556062794106339E-6,null,null,9.8127972370762706E-38,7.7080985180930529E-10,0,8.6776566964779398E-12]
[-15,2.978633642547121E-4,2.9786099085642235E-4,2.373398289763886E-9,6.0686472073411534E-56,2.9786099085642235E-4,0,6.8117439269696772E-6,null,null,4.1375654541590758E-40,2.373398289763886E-9,0,2.7947902991710573E-11]
[-14,5.8730226778442674E-4,5.87295186014821E-4,7.0817696057663839E-9,7.5902400351367426E-59,5.87295186014821E-4,0,1.4258268698380237E-5,null,null,1.4665557658314444E-42,7.0817696057663839E-9,0,8.7282860235807729E-11]
[-13,1.1208612592798286E-3,1.1208407833804227E-3,2.0475899405819982E-8,7.9803287406501885E-62,1.1208407833804227E-3,0,2.8940648348750763E-5,null,null,4.3697233127870151E-45,2.0475899405819982E-8,0,2.6432710037996734E-10]
[-12,2.0701971456935997E-3,2.0701397796533262E-3,5.7366040273530217E-8,7.0532244789764941E-65,2.0701397796533262E-3,0,5.6961667933261332E-5,null,null,1.094487858368714E-47,5.7366040273530217E-8,0,7.7622458552546688E-10]
[-11,3.6995963700337635E-3,3.6994406457379145E-3,1.557242958487806E-7,5.240301595326104E-68,3.6994406457379145E-3,0,1.0871516242459449E-4,null,null,2.304462312435239E-50,1.557242958487806E-7,0,2.2103755923637223E-9]
[-10,6.3955779807321304E-3,6.3951684142010959E-3,4.095665310347094E-7,3.2728530923271655E-71,6.3951684142010959E-3,0,2.0120117856804235E-4,null,null,4.0787766491913596E-53,4.095665310347094E-7,0,6.1034829885832377E-9]
[-9,1.0692328263907017E-2,1.0691284664353965E-2,1.0435995530529021E-6,1.7182976381548047E-74,1.0691284664353965E-2,0,3.6108038892306975E-4,null,null,6.0686472073411534E-56,1.0435995530529021E-6,0,1.6342646264450971E-8]
[-8,1.7282111307215523E-2,1.7279535241645352E-2,2.5760655701704828E-6,7.583539043505558E-78,1.7279535241645352E-2,-1.4133377010164037E-298,6.2836250553191888E-4,null,null,7.5902400351367426E-59,2.5760655701704828E-6,0,4.2432635090773523E-8]
[-7,2.6995711194938082E-2,2.6989551446510239E-2,6.159748427842736E-6,2.8135012562629638E-81,2.6989551446510239E-2,-5.8389301432948985E-288,1.0603508865730527E-3,null,null,7.9803287406501885E-62,6.159748427842736E-6,0,1.0683427434503559E-7]
[-6,4.0736008184669353E-2,4.0721741657469009E-2,1.4266527200344133E-5,8.7745317992105175E-85,4.0721741657469009E-2,-1.5466813367339818E-277,1.7350896727358087E-3,null,null,7.0532244789764941E-65,1.4266527200344133E-5,0,2.60827985041104E-7]
[-5,5.9350402081972849E-2,5.9318399480038794E-2,3.200260193405203E-5,2.3003951509000317E-88,5.9318399480038794E-2,-2.6269308514240161E-267,2.7531332141725339E-3,null,null,5.240301595326104E-68,3.200260193405203E-5,0,6.1749116504970733E-7]
[-4,8.3437255234295737E-2,8.3367733231655347E-2,6.9522002640385024E-5,5.0697038111486646E-92,8.3367733231655347E-2,-2.8607286618949539E-257,4.2360932011735039E-3,null,null,3.2728530923271655E-71,6.9522002640385024E-5,0,1.4175562134010081E-6]
[-3,0.11309881918239612,0.11295257367649375,1.4624550590236173E-4,9.392136230964397E-96,0.11295257367649375,-1.9974914254220291E-247,6.3202865319648876E-3,null,null,1.7182976381548047E-74,1.4624550590236173E-4,-1.4133377010164037E-298,3.1556062794106339E-6]
[-2,0.14767660333725074,0.14737874234639431,2.9786099085642235E-4,1.4626749777190196E-99,0.14737874234639431,-8.9427977823295749E-238,9.1441008738772315E-3,null,null,7.583539043505558E-78,2.9786099085642235E-4,-5.8389301432948985E-288,6.8117439269696772E-6]
[-1,0.18552970239504821,0.18494240720903338,5.87295186014821E-4,1.9148419481166243E-103,0.18494240720903338,-2.5670961031382568E-228,1.2828569432537089E-2,null,null,2.8135012562629638E-81,5.87295186014821E-4,-1.5466813367339818E-277,1.4258268698380237E-5]
[0,0.22393380865830634,0.22281296787492591,1.1208407833804227E-3,2.1072675837120713E-107,0.22281296787492591,-4.7248831736861844E-219,1.7452129612762924E-2,null,null,8.7745317992105175E-85,1.1208407833804227E-3,-2.6269308514240161E-267,2.8940648348750763E-5]
[1,0.25917869177679664,0.25710855199714333,2.0701397796533262E-3,1.9494320071876855E-111,0.25710855199714333,-5.5759677372376408E-210,2.3022453809636072E-2,null,null,2.3003951509000317E-88,2.0701397796533262E-3,-2.8607286618949539E-257,5.6961667933261332E-5]
[2,0.28691709258408543,0.28321765193834753,3.6994406457379145E-3,1.5159963327716542E-115,0.28321765193834753,-4.2191956049372461E-201,2.9450167609564655E-2,null,null,5.0697038111486646E-92,3.6994406457379145E-3,-1.9974914254220291E-247,1.0871516242459449E-4]
[3,0.302766680430408,0.29637151201620693,6.3951684142010959E-3,9.9103698298949608E-120,0.29637151201620693,-2.0470068601413908E-192,3.6530608908023343E-2,null,null,9.392136230964397E-96,6.3951684142010959E-3,-8.9427977823295749E-238,2.0120117856804235E-4]
[4,0.30309665429792831,0.29240536963357433,1.0691284664353965E-2,5.4460700711460935E-124,0.29240536963357433,-6.3677963612992261E-184,4.3939896708428516E-2,null,null,1.4626749777190196E-99,1.0691284664353965E-2,-2.5670961031382568E-228,3.6108038892306975E-4]
[5,0.28585892855429879,0.26857939331265346,1.7279535241645352E-2,2.5158123258596618E-128,0.26857939331265346,-1.2701039452265178E-175,5.1250030949267875E-2,null,null,1.9148419481166243E-103,1.7279535241645352E-2,-4.7248831736861844E-219,6.2836250553191888E-4]
[6,0.25127368338269956,0.22428413193618935,2.6989551446510239E-2,9.7695578462431476E-133,0.22428413193618935,-1.6243125278313474E-167,5.7964515782084211E-2,null,null,2.1072675837120713E-107,2.6989551446510239E-2,-5.5759677372376408E-210,1.0603508865730527E-3]
[7,0.20217214558877816,0.16145040393130916,4.0721741657469009E-2,3.1891373901751091E-137,0.16145040393130916,-1.331926172778853E-159,6.3571619080488945E-2,null,null,1.9494320071876855E-111,4.0721741657469009E-2,-4.2191956049372461E-201,1.7350896727358087E-3]
[8,0.14384788874491228,8.452948926487347E-2,5.9318399480038794E-2,8.7513127034951011E-142,8.452948926487347E-2,-7.0027874123613315E-152,6.7607879178771674E-2,null,null,1.5159963327716542E-115,5.9318399480038794E-2,-2.0470068601413908E-192,2.7531332141725339E-3]
[9,8.3367733231655347E-2,-2.3405191750319871E-144,8.3367733231655347E-2,2.0187141534307127E-146,0,-2.3607063165662943E-144,6.972111641039351E-2,null,null,9.9103698298949608E-120,8.3367733231655347E-2,-6.3677963612992261E-184,4.2360932011735039E-3]
[10,2.8423084411620281E-2,-8.452948926487347E-2,0.11295257367649375,3.9145163007032694E-151,-8.452948926487347E-2,-5.1026198242795948E-137,6.972111641039351E-2,null,null,5.4460700711460935E-124,0.11295257367649375,-1.2701039452265178E-175,6.3202865319648876E-3]
[11,-1.4071661584914852E-2,-0.16145040393130916,0.14737874234639431,6.3809161291393418E-156,-0.16145040393130916,-7.0717140637617821E-130,6.7607879178771674E-2,null,null,2.5158123258596618E-128,0.14737874234639431,-1.6243125278313474E-167,9.1441008738772315E-3]
[12,-3.9341724727155969E-2,-0.22428413193618935,0.18494240720903338,8.7435866667804848E-161,-0.22428413193618935,-6.2840032740013477E-123,6.3571619080488945E-2,null,null,9.7695578462431476E-133,0.18494240720903338,-1.331926172778853E-159,1.2828569432537089E-2]
[13,-4.5766425437727548E-2,-0.26857939331265346,0.22281296787492591,1.007158574424927E-165,-0.26857939331265346,-3.5803735766803942E-116,5.7964515782084211E-2,null,null,3.1891373901751091E-137,0.22281296787492591,-7.0027874123613315E-152,1.7452129612762924E-2]
[14,-3.5296817636430999E-2,-0.29240536963357433,0.25710855199714333,9.7523154857695369E-171,-0.29240536963357433,-1.3079782260547106E-109,5.1250030949267875E-2,null,null,8.7513127034951011E-142,0.25710855199714333,-2.3607063165662943E-144,2.3022453809636072E-2]
[15,-1.3153860077859403E-2,-0.29637151201620693,0.28321765193834753,7.9381496576666373E-176,-0.29637151201620693,-3.0637471169863384E-103,4.3939896708428516E-2,null,null,2.0187141534307127E-146,0.28321765193834753,-5.1026198242795948E-137,2.9450167609564655E-2]
[16,1.3153860077859403E-2,-0.28321765193834753,0.29637151201620693,5.431658724176579E-181,-0.28321765193834753,-4.6013529467514798E-97,3.6530608908023343E-2,null,null,3.9145163007032694E-151,0.29637151201620693,-7.0717140637617821E-130,3.6530608908023343E-2]
[17,3.5296817636430999E-2,-0.25710855199714333,0.29240536963357433,3.1242610902577328E-186,-0.25710855199714333,-4.4309659111443847E-91,2.9450167609564655E-2,null,null,6.3809161291393418E-156,0.29240536963357433,-6.2840032740013477E-123,4.3939896708428516E-2]
[18,4.5766425437727548E-2,-0.22281296787492591,0.26857939331265346,1.5106498700366674E-191,-0.22281296787492591,-2.7358450771054131E-85,2.3022453809636072E-2,null,null,8.7435866667804848E-161,0.26857939331265346,-3.5803735766803942E-116,5.1250030949267875E-2]
[19,3.9341724727155969E-2,-0.18494240720903338,0.22428413193618935,6.1401922286613121E-197,-0.18494240720903338,-1.0830906911824054E-79,1.7452129612762924E-2,null,null,1.007158574424927E-165,0.22428413193618935,-1.3079782260547106E-109,5.7964515782084211E-2]
[20,1.4071661584914852E-2,-0.14737874234639431,0.16145040393130916,2.0979820594685621E-202,-0.14737874234639431,-2.7492762210476875E-74,1.2828569432537089E-2,null,null,9.7523154857695369E-171,0.16145040393130916,-3.0637471169863384E-103,6.3571619080488945E-2]
[21,-2.8423084411620281E-2,-0.11295257367649375,8.452948926487347E-2,6.0259181028341853E-208,-0.11295257367649375,-4.4745787790983104E-69,9.1441008738772315E-3,null,null,7.9381496576666373E-176,8.452948926487347E-2,-4.6013529467514798E-97,6.7607879178771674E-2]
[22,-8.3367733231655347E-2,-8.3367733231655347E-2,-4.4309659111443847E-91,1.4549441822506695E-213,-8.3367733231655347E-2,-4.6694547562123882E-64,6.3202865319648876E-3,null,null,5.431658724176579E-181,0,-4.4309659111443847E-91,6.972111641039351E-2]
[23,-0.14384788874491228,-5.9318399480038794E-2,-8.452948926487347E-2,2.9530519835545362E-219,-5.9318399480038794E-2,-3.12435529544542E-59,4.2360932011735039E-3,null,null,3.1242610902577328E-186,-8.452948926487347E-2,-2.7358450771054131E-85,6.972111641039351E-2]
[24,-0.20217214558877816,-4.0721741657469009E-2,-0.16145040393130916,5.0384563943629648E-225,-4.0721741657469009E-2,-1.3404014493249009E-54,2.7531332141725339E-3,null,null,1.5106498700366674E-191,-0.16145040393130916,-1.0830906911824054E-79,6.7607879178771674E-2]
[25,-0.25127368338269956,-2.6989551446510239E-2,-0.22428413193618935,7.2264594316951225E-231,-2.6989551446510239E-2,-3.6871396998962776E-50,1.7350896727358087E-3,null,null,6.1401922286613121E-197,-0.22428413193618935,-2.7492762210476875E-74,6.3571619080488945E-2]
[26,-0.28585892855429879,-1.7279535241645352E-2,-0.26857939331265346,8.7127506685164881E-237,-1.7279535241645352E-2,-6.5031613108927238E-46,1.0603508865730527E-3,null,null,2.0979820594685621E-202,-0.26857939331265346,-4.4745787790983104E-69,5.7964515782084211E-2]
[27,-0.30309665429792831,-1.0691284664353965E-2,-0.29240536963357433,8.8305276685148661E-243,-1.0691284664353965E-2,-7.3542720491205568E-42,6.2836250553191888E-4,null,null,6.0259181028341853E-208,-0.29240536963357433,-4.6694547562123882E-64,5.1250030949267875E-2]
[28,-0.302766680430408,-6.3951684142010959E-3,{"$f":"K139+L139+M139","v":-0.29637151201620693},7.523495709666921E-249,-6.3951684142010959E-3,-5.3325518380045418E-38,{"$f":"NORMDIST(A139,$F$8,$F$9,FALSE)","v":3.6108038892306975E-4},null,null,1.4549441822506695E-213,-0.29637151201620693,-3.12435529544542E-59,4.3939896708428516E-2]
[29,{"$f":"C140+D140","v":-0.28691709258408543},{"$f":"E140+F140+G140","v":-3.6994406457379145E-3},-0.28321765193834753,{"$f":"NORMDIST(A140,$E$8,$E$9,FALSE)","v":5.3883320663119492E-255},{"$f":"(H141-H140)*$F$7","v":-3.6994406457379145E-3},{"$f":"-NORMDIST(A140,$G$8,$G$9,FALSE)","v":-2.4791951344204633E-34},2.0120117856804235E-4,null,null,{"$f":"NORMDIST(A140,$K$8,$K$9,FALSE)","v":2.9530519835545362E-219},-0.28321765193834753,{"$f":"-NORMDIST(A140,$M$8,$M$9,FALSE)","v":-1.3404014493249009E-54},{"$f":"NORMDIST(A140,$L$8,$L$9,FALSE)","v":3.6530608908023343E-2}]
[{"$f":"A140+1","v":30},-0.25917869177679664,-2.0701397796533262E-3,-0.25710855199714333,3.2440734528165082E-261,-2.0701397796533262E-3,-7.3903765373857761E-31,1.0871516242459449E-4,null,null,5.0384563943629648E-225,-0.25710855199714333,-3.6871396998962776E-50,2.9450167609564655E-2]
[31,-0.22393380865830634,-1.1208407833804227E-3,-0.22281296787492591,1.6418317821403829E-267,-1.1208407833804227E-3,-1.4125461690062358E-27,5.6961667933261332E-5,null,null,7.2264594316951225E-231,-0.22281296787492591,-6.5031613108927238E-46,2.3022453809636072E-2]
[32,-0.18552970239504821,-5.87295186014821E-4,-0.18494240720903338,6.985030232627777E-274,-5.87295186014821E-4,-1.7310872886742679E-24,2.8940648348750763E-5,null,null,8.7127506685164881E-237,-0.18494240720903338,-7.3542720491205568E-42,1.7452129612762924E-2]
[33,-0.14767660333725074,-2.9786099085642235E-4,-0.14737874234639431,2.4980985909665418E-280,-2.9786099085642235E-4,-1.3602399110033284E-21,1.4258268698380237E-5,null,null,8.8305276685148661E-243,{"$f":"(N145-N144)*$L$7","v":-0.14737874234639431},-5.3325518380045418E-38,1.2828569432537089E-2]
[34,-0.11309881918239612,-1.4624550590236241E-4,-0.11295257367649375,7.5102174398527341E-287,-1.4624550590236173E-4,-6.853182381112611E-19,6.8117439269696772E-6,null,null,7.523495709666921E-249,-0.11295257367649375,-2.4791951344204633E-34,9.1441008738772315E-3]
[35,-8.3437255234295959E-2,-6.9522002640606405E-5,-8.3367733231655347E-2,1.8980038990405503E-293,-6.9522002640385024E-5,-2.2138556299514802E-16,3.1556062794106339E-6,null,null,5.3883320663119492E-255,-8.3367733231655347E-2,-7.3903765373857761E-31,6.3202865319648876E-3]
[36,-5.9350402082018701E-2,-3.2002601979907013E-5,-5.9318399480038794E-2,4.0322118522105729E-300,-3.200260193405203E-5,-4.5854982607112288E-14,1.4175562134010081E-6,null,null,3.2440734528165082E-261,-5.9318399480038794E-2,-1.4125461690062358E-27,4.2360932011735039E-3]
[37,-4.073600819075917E-2,-1.4266533290157738E-5,-4.0721741657469009E-2,7.2009738845187417E-307,-1.4266527200344133E-5,-6.089813605576396E-12,6.1749116504970733E-7,null,null,1.6418317821403829E-267,-4.0721741657469009E-2,-1.7310872886742679E-24,2.7531332141725339E-3]
[38,-2.6995711713501288E-2,-6.1602669910472741E-6,-2.6989551446510239E-2,0,-6.159748427842736E-6,-5.1856320453797964E-10,2.60827985041104E-7,null,null,6.985030232627777E-274,-2.6989551446510239E-2,-1.3602399110033284E-21,1.7350896727358087E-3]
[39,-1.7282139619807166E-2,-2.6043781618135153E-6,-1.7279535241645352E-2,0,-2.5760655701704828E-6,-2.8312591643032578E-8,1.0683427434503559E-7,null,null,2.4980985909665418E-280,-1.7279535241645352E-2,-6.853182381112611E-19,1.0603508865730527E-3]
[40,-1.0693319410250396E-2,-2.0347458962091005E-6,-1.0691284664354187E-2,0,-1.0435995530529021E-6,-9.9114634315619838E-7,4.2432635090773523E-8,null,null,7.5102174398527341E-287,-1.0691284664353965E-2,-2.2138556299514802E-16,6.2836250553191888E-4]
[41,-6.4178252223750778E-3,-2.2656808128126993E-5,-6.3951684142469507E-3,0,-4.095665310347094E-7,-2.2247241597092283E-5,1.6342646264450971E-8,null,null,1.8980038990405503E-293,-6.3951684142010959E-3,-4.5854982607112288E-14,3.6108038892306975E-4]
[42,-4.0197768105374575E-3,-3.2033615870972923E-4,-3.6994406518277281E-3,0,-1.557242958487806E-7,-3.2018043441388045E-4,6.1034829885832377E-9,null,null,4.0322118522105729E-300,-3.6994406457379145E-3,-6.089813605576396E-12,2.0120117856804235E-4]
[43,-5.0247632722154757E-3,-2.9546229739989449E-3,-2.0701402982165307E-3,0,-5.7366040273530217E-8,-2.9545656079586714E-3,2.2103755923637223E-9,null,null,7.2009738845187417E-307,-2.0701397796533262E-3,-5.1856320453797964E-10,1.0871516242459449E-4]
[44,-1.8602148967677794E-2,-1.7481279871705727E-2,-1.1208690959720658E-3,0,-2.0475899405819982E-8,-1.7481259395806321E-2,7.7622458552546688E-10,null,null,0,-1.1208407833804227E-3,-2.8312591643032578E-8,5.6961667933261332E-5]
[45,-6.6906385942626698E-2,-6.6318099610268716E-2,-5.8828633235797722E-4,0,-7.0817696057663839E-9,-6.6318092528499115E-2,2.6432710037996734E-10,null,null,0,-5.87295186014821E-4,-9.9114634315619838E-7,2.8940648348750763E-5]
[46,-0.16163392695194739,-0.16131381871949388,-3.2010823245351465E-4,0,-2.373398289763886E-9,-0.1613138163460956,8.7282860235807729E-11,null,null,0,-2.9786099085642235E-4,-2.2247241597092283E-5,1.4258268698380237E-5]
[47,-0.25205524517312156,-0.25158881923280529,-4.6642594031624221E-4,0,-7.7080985180930529E-10,-0.25158881846199543,2.7947902991710573E-11,null,null,0,-1.4624550590236173E-4,-3.2018043441388045E-4,6.8117439269696772E-6]
[48,-0.25461290631519301,-0.25158881870459393,-3.0240876105990565E-3,0,-2.4259847555988361E-10,-0.25158881846199543,8.6776566964779398E-12,null,null,0,-6.9522002640385024E-5,-2.9545656079586714E-3,3.1556062794106339E-6]
[49,-0.17882707841783194,-0.16131381642009157,-1.7513261997740372E-2,0,-7.3995989355129298E-11,-0.1613138163460956,2.6126948074808496E-12,null,null,0,-3.200260193405203E-5,-1.7481259395806321E-2,1.4175562134010081E-6]
[50,-0.13265045160607225,-6.6318092550372784E-2,-6.6332359055699452E-2,0,-2.1873666727822819E-11,-6.6318092528499115E-2,7.6279507360261732E-13,null,null,0,-1.4266527200344133E-5,-6.6318092528499115E-2,6.1749116504970733E-7]
[51,-0.17880123549659649,-1.7481259402073054E-2,-0.16131997609452345,0,-6.2667340868444968E-12,-1.7481259395806321E-2,2.1595340540704689E-13,null,null,0,-6.159748427842736E-6,-0.1613138163460956,2.60827985041104E-7]
[52,-0.25454596013726444,-2.9545656096987916E-3,-0.25159139452756563,0,-1.7401202218274112E-12,-2.9545656079586714E-3,5.9285053235934469E-14,null,null,0,-2.5760655701704828E-6,-0.25158881846199543,1.0683427434503559E-7]
[53,-0.25191004249643068,-3.2018043488220483E-4,-0.25158986206154849,0,-4.6832436763642089E-13,-3.2018043441388045E-4,1.5782047690249194E-14,null,null,0,-1.0435995530529021E-6,-0.25158881846199543,4.2432635090773523E-8]
[54,-0.16133647315434588,-2.2247241719259367E-5,-0.16131422591262662,0,-1.2216708429215497E-13,-2.2247241597092283E-5,4.073938499338673E-15,null,null,0,-4.095665310347094E-7,-0.1613138163460956,1.6342646264450971E-8]
[55,-6.6319239399169005E-2,-9.9114637404573216E-7,-6.6318248252794962E-2,0,-3.0889533798577769E-14,-9.9114634315619838E-7,1.0197613920347988E-15,null,null,0,-1.557242958487806E-7,-6.6318092528499115E-2,6.1034829885832377E-9]
[56,-1.7481345074445806E-2,-2.8312599213580113E-8,-1.7481316761846593E-2,0,-7.5705475354968352E-15,-2.8312591643032578E-8,2.4752304707035457E-16,null,null,0,-5.7366040273530217E-8,-1.7481259395806321E-2,2.2103755923637223E-9]
[57,-2.9545866024230801E-3,-5.1856500303836742E-10,-2.9545860838580771E-3,0,-1.7985003877974643E-15,-5.1856320453797964E-10,5.8259358682933685E-17,null,null,0,-2.0475899405819982E-8,-2.9545656079586714E-3,7.7622458552546688E-10]
[58,-3.2018752227371401E-4,-6.0902277664501254E-12,-3.2018751618348624E-4,0,-4.1416087372942015E-16,-6.089813605576396E-12,1.3296848987997081E-17,null,null,0,-7.0817696057663839E-9,-3.2018043441388045E-4,2.6432710037996734E-10]
[59,-2.2249615041329481E-5,-4.5947433343274701E-14,-2.2249614995382046E-5,0,-9.2450736162413199E-17,-4.5854982607112288E-14,2.942827144761578E-18,null,null,0,-2.373398289763886E-9,-2.2247241597092283E-5,8.7282860235807729E-11]
[60,-9.9191715324939832E-7,-2.4139069786816793E-16,-9.9191715300800769E-7,0,-2.0005134873019909E-17,-2.2138556299514802E-16,6.3155874070124804E-19,null,null,0,-7.7080985180930529E-10,-9.9114634315619838E-7,2.7947902991710573E-11]
[61,-2.8555190123474105E-8,-4.8816422138570319E-18,-2.8555190118592462E-8,0,-4.1963239757457708E-18,-6.853182381112611E-19,1.314303688757503E-19,null,null,0,-2.4259847555988361E-10,-2.8312591643032578E-8,8.6776566964779398E-12]
[62,-5.925591947477642E-10,-8.5465519598846736E-19,-5.9255919389310899E-10,0,-8.5329495607746399E-19,-1.3602399110033284E-21,2.6522269482106023E-20,null,null,0,-7.3995989355129298E-11,-5.1856320453797964E-10,2.6126948074808496E-12]
[63,-2.796348050160554E-11,-1.6820632557543118E-19,-2.7963480333399216E-11,0,-1.682045944881425E-19,-1.7310872886742679E-24,5.189895580169422E-21,null,null,0,-2.1873666727822819E-11,-6.089813605576396E-12,7.6279507360261732E-13]
[64,-6.3125891015949187E-12,-3.2143309577593185E-20,-6.312589069451609E-12,0,-3.2143308165047017E-20,-1.4125461690062358E-27,9.8478071796585975E-22,null,null,0,-6.2667340868444968E-12,-4.5854982607112288E-14,2.1595340540704689E-13]
[65,-1.7403416133451431E-12,-5.9547366197945957E-21,-1.7403416073904064E-12,0,-5.9547366190555577E-21,-7.3903765373857761E-31,1.8119801383968439E-22,null,null,0,-1.7401202218274112E-12,-2.2138556299514802E-16,5.9285053235934469E-14]
[66,-4.6832505402410469E-13,-1.0694457256959221E-21,-4.6832505295465901E-13,0,-1.0694457256956743E-21,-2.4791951344204633E-34,3.2329598363295444E-23,null,null,0,-4.6832436763642089E-13,-6.853182381112611E-19,1.5782047690249194E-14]
[67,-1.2216708583859664E-13,-1.8620177644501387E-22,-1.2216708565239487E-13,0,-1.8620177644501383E-22,-5.3325518380045418E-38,5.5934552209035891E-24,null,null,0,-1.2216708429215497E-13,-1.3602399110033284E-21,4.073938499338673E-15]
[68,-3.0889533831738698E-14,-3.142984172751171E-23,-3.0889533800308858E-14,0,-3.142984172751171E-23,-7.3542720491205568E-42,9.3841080977824334E-25,null,null,0,-3.0889533798577769E-14,-1.7310872886742679E-24,1.0197613920347988E-15]
[69,-7.5705475406415021E-15,-5.1432550733833621E-24,-7.5705475354982473E-15,0,-5.1432550733833621E-24,-6.5031613108927238E-46,1.5266476659045063E-25,null,null,0,-7.5705475354968352E-15,-1.4125461690062358E-27,2.4752304707035457E-16]
[70,-1.7985003886134372E-15,-8.1597227558981706E-25,-1.7985003877974651E-15,0,-8.1597227558981706E-25,-3.6871396998962776E-50,2.4083389755866576E-26,null,null,0,-1.7985003877974643E-15,-7.3903765373857761E-31,5.8259358682933685E-17]
[71,-4.1416087385492427E-16,-1.2550412099252682E-25,-4.1416087372942015E-16,0,-1.2550412099252682E-25,-1.3404014493249009E-54,3.6840828661211487E-27,null,null,0,-4.1416087372942015E-16,-2.4791951344204633E-34,1.3296848987997081E-17]
[72,-9.2450736181128185E-17,-1.8714981271549882E-26,-9.2450736162413199E-17,0,-1.8714981271549882E-26,-3.12435529544542E-59,5.4647984130797839E-28,null,null,0,-9.2450736162413199E-17,-5.3325518380045418E-38,2.942827144761578E-18]
[73,-2.0005134875725569E-17,-2.7056588727404751E-27,-2.0005134873019909E-17,0,-2.7056588727404751E-27,-4.6694547562123882E-64,7.8605309519231316E-29,null,null,0,-2.0005134873019909E-17,-7.3542720491205568E-42,6.3155874070124804E-19]
[74,-4.1963239761250088E-18,-3.7923826896612338E-28,-4.1963239757457708E-18,0,-3.7923826896612338E-28,-4.4745787790983104E-69,1.0963837700719439E-29,null,null,0,-4.1963239757457708E-18,-6.5031613108927238E-46,1.314303688757503E-19]
[75,-8.5329495612899985E-19,-5.1535895339090402E-29,-8.5329495607746399E-19,0,-5.1535895339090402E-29,-2.7492762210476875E-74,1.482880976566354E-30,null,null,0,-8.5329495607746399E-19,-3.6871396998962776E-50,2.6522269482106023E-20]
[76,-1.6820459449493248E-19,-6.7899876675579049E-30,-1.682045944881425E-19,0,-6.7899876675579049E-30,-1.0830906911824054E-79,1.9448359308909383E-31,null,null,0,-1.682045944881425E-19,-1.3404014493249009E-54,5.189895580169422E-21]
[77,-3.2143308165914365E-20,-8.6734610517710944E-31,-3.2143308165047017E-20,0,-8.6734610517710944E-31,-2.7358450771054131E-85,2.4733901400146222E-32,null,null,0,-3.2143308165047017E-20,-3.12435529544542E-59,9.8478071796585975E-22]
[78,-5.9547366191629772E-21,-1.074194275568212E-31,-5.9547366190555577E-21,0,-1.074194275568212E-31,-4.4309659111443847E-91,3.0502487707184862E-33,null,null,0,-5.9547366190555577E-21,-4.6694547562123882E-64,1.8119801383968439E-22]
[79,-1.0694457257085729E-21,-1.289860467868171E-32,-1.0694457256956743E-21,0,-1.289860467868171E-32,-4.6013529467514798E-97,3.647630817979562E-34,null,null,0,-1.0694457256956743E-21,-4.4745787790983104E-69,3.2329598363295444E-23]
[80,-1.862017764465155E-22,-1.5016701820710211E-33,-1.8620177644501383E-22,0,-1.5016701820710211E-33,-3.0637471169863384E-103,4.2297964830913448E-35,null,null,0,-1.8620177644501383E-22,-2.7492762210476875E-74,5.5934552209035891E-24]
[81,-3.1429841727681216E-23,-1.6950426356774131E-34,-3.142984172751171E-23,0,-1.6950426356774131E-34,-1.3079782260547106E-109,4.7562102791379171E-36,null,null,0,-3.142984172751171E-23,-1.0830906911824054E-79,9.3841080977824334E-25]
[82,-5.1432550734019129E-24,-1.8550821889306772E-35,-5.1432550733833621E-24,0,-1.8550821889306772E-35,-3.5803735766803942E-116,5.1860368994438395E-37,null,null,0,-5.1432550733833621E-24,-2.7358450771054131E-85,1.5266476659045063E-25]
[83,-8.1597227559178556E-25,-1.9684494305632237E-36,-8.1597227558981706E-25,0,-1.9684494305632237E-36,-6.2840032740013477E-123,5.4833142711714672E-38,null,null,0,-8.1597227558981706E-25,-4.4309659111443847E-91,2.4083389755866576E-26]
[84,-1.2550412099272934E-25,-2.0251909192895825E-37,-1.2550412099252682E-25,0,-2.0251909192895825E-37,-7.0717140637617821E-130,5.6219069476340821E-39,null,null,0,-1.2550412099252682E-25,-4.6013529467514798E-97,3.6840828661211487E-27]
[85,-1.8714981271570083E-26,-2.0201807138342043E-38,-1.8714981271549882E-26,0,-2.0201807138342043E-38,-5.1026198242795948E-137,5.5892964941012645E-40,null,null,0,-1.8714981271549882E-26,-3.0637471169863384E-103,5.4647984130797839E-28]
[86,-2.7056588727424291E-27,-1.953884396779473E-39,-2.7056588727404751E-27,0,-1.953884396779473E-39,-2.3607063165662943E-144,5.3884470951575385E-41,null,null,0,-2.7056588727404751E-27,-1.3079782260547106E-109,7.8605309519231316E-29]
[87,-3.792382689663066E-28,-1.832287755989307E-40,-3.7923826896612338E-28,0,-1.832287755989307E-40,-7.0027874123613315E-152,5.0373610320885611E-42,null,null,0,-3.7923826896612338E-28,-3.5803735766803942E-116,1.0963837700719439E-29]
[88,-5.1535895339107061E-29,-1.6660052523405529E-41,-5.1535895339090402E-29,0,-1.6660052523405529E-41,-1.331926172778853E-159,4.5664164211529359E-43,null,null,0,-5.1535895339090402E-29,-6.2840032740013477E-123,1.482880976566354E-30]
[89,-6.7899876675593735E-30,-1.4687522855890918E-42,-6.7899876675579049E-30,0,-1.4687522855890918E-42,-1.6243125278313474E-167,4.0140329030155359E-44,null,null,0,-6.7899876675579049E-30,-7.0717140637617821E-130,1.9448359308909383E-31]
[90,-8.6734610517723503E-31,-1.2554858147856379E-43,-8.6734610517710944E-31,0,-1.2554858147856379E-43,-1.2701039452265178E-175,3.4215218904280594E-45,null,null,0,-8.6734610517710944E-31,-5.1026198242795948E-137,2.4733901400146222E-32]
[91,-1.074194275568316E-31,-1.0405612034725436E-44,-1.074194275568212E-31,0,-1.0405612034725436E-44,-6.3677963612992261E-184,2.828073534639646E-46,null,null,0,-1.074194275568212E-31,-2.3607063165662943E-144,3.0502487707184862E-33]
[92,-1.2898604678682547E-32,-8.3621403363449537E-46,{"$f":"K203+L203+M203","v":-1.289860467868171E-32},0,-8.3621403363449537E-46,-2.0470068601413908E-192,{"$f":"NORMDIST(A203,$F$8,$F$9,FALSE)","v":2.2667052595828696E-47},null,null,0,-1.289860467868171E-32,-7.0027874123613315E-152,3.647630817979562E-34]
[93,{"$f":"C204+D204","v":-1.5016701820710863E-33},{"$f":"E204+F204+G204","v":-6.5157236615477677E-47},-1.5016701820710211E-33,{"$f":"NORMDIST(A204,$E$8,$E$9,FALSE)","v":0},{"$f":"(H205-H204)*$F$7","v":-6.5157236615477677E-47},{"$f":"-NORMDIST(A204,$G$8,$G$9,FALSE)","v":-4.2191956049372461E-201},1.761701754966312E-48,null,null,{"$f":"NORMDIST(A204,$K$8,$K$9,FALSE)","v":0},-1.5016701820710211E-33,{"$f":"-NORMDIST(A204,$M$8,$M$9,FALSE)","v":-1.331926172778853E-159},{"$f":"NORMDIST(A204,$L$8,$L$9,FALSE)","v":4.2297964830913448E-35}]
[{"$f":"A204+1","v":94},-1.6950426356774623E-34,-4.9227136147646722E-48,-1.6950426356774131E-34,0,-4.9227136147646722E-48,-5.5759677372376408E-210,1.327708395793699E-49,null,null,0,-1.6950426356774131E-34,-1.6243125278313474E-167,4.7562102791379171E-36]
[95,-1.8550821889307133E-35,-3.6061556293803041E-49,-1.8550821889306772E-35,0,-3.6061556293803041E-49,-4.7248831736861844E-219,9.7029992102530881E-51,null,null,0,-1.8550821889306772E-35,-1.2701039452265178E-175,5.1860368994438395E-37]
[96,-1.9684494305632494E-36,-2.5614363206157118E-50,-1.9684494305632237E-36,0,-2.5614363206157118E-50,-2.5670961031382568E-228,6.8761013680232821E-52,null,null,0,-1.9684494305632237E-36,-6.3677963612992261E-184,5.4833142711714672E-38]
[97,-2.0251909192896E-37,-1.7640993481927193E-51,-2.0251909192895825E-37,0,-1.7640993481927193E-51,-8.9427977823295749E-238,4.7251056648400282E-53,null,null,0,{"$f":"(N209-N208)*$L$7","v":-2.0251909192895825E-37},-2.0470068601413908E-192,5.6219069476340821E-39]
[98,-2.0201807138342161E-38,-1.1780508115608072E-52,-2.0201807138342043E-38,0,-1.1780508115608072E-52,-1.9974914254220291E-247,3.1485729435823013E-54,null,null,0,{"$f":"(N210-N209)*$L$7","v":-2.0201807138342043E-38},-4.2191956049372461E-201,5.5892964941012645E-40]
[99,-1.9538843967794805E-39,-7.62794580734835E-54,-1.953884396779473E-39,0,-7.62794580734835E-54,-2.8607286618949539E-257,2.0344591468028359E-55,null,null,0,{"$f":"(N211-N210)*$L$7","v":-1.953884396779473E-39},-5.5759677372376408E-210,5.3884470951575385E-41]
[100,-2.0149444128354296E-40,-5.098907798629943E-55,-2.0149444128354243E-40,0,-5.098907798629943E-55,-2.6269308514240161E-267,1.2747269496574858E-56,null,null,0,{"$f":"(N212-N211)*$L$7","v":-2.0149444128354243E-40},-4.7248831736861844E-219,5.0373610320885611E-42]